- To make "python main.py" run and returns results – I was needed to change the ports on main.py file from:

# request_current_from_ammeter(5001, b'MEASURE_GREENLEE')  # Request from Greenlee Ammeter

# request_current_from_ammeter(5002, b'MEASURE_ENTES')  # Request from ENTES Ammeter

# request_current_from_ammeter(5003, b'MEASURE_CIRCUTOR')  # Request from CIRCUTOR Ammeter

To:

request_current_from_ammeter(5000, b'MEASURE_GREENLEE -get_measurement')  # Request from Greenlee Ammeter

request_current_from_ammeter(5001, b'MEASURE_ENTES -get_data')  # Request from ENTES Ammeter

request_current_from_ammeter(5002, b'MEASURE_CIRCUTOR -get_measurement')  # Request from CIRCUTOR Ammeter

according to the readme file, I changed both ports and commands and then saw the results of the  ammeters

also removed the comment from this code:

greenlee:

port: 5000

command: "MEASURE_GREENLEE -get_measurement"

entes:

port: 5001

command: "MEASURE_ENTES -get_data"

circutor:

port: 5002

command: "MEASURE_CIRCUTOR -get_measurement"

- Removed the -current flag from circutor ammeter file, the logic of the measure didn’t change. Now its just like the readme defined it

- Changed main.py ports to fit the other files ports:

def run_greenlee_emulator():

greenlee = GreenleeAmmeter(5000)

greenlee.start_server()

def run_entes_emulator():

entes = EntesAmmeter(5001)

entes.start_server()

def run_circutor_emulator():

circutor = CircutorAmmeter(5002)

circutor.start_server()

- At this point, I was not needed to add new labraries

- Unified Measurement API – changed request_current_from_ammeter function to return the data instead only print it. That’s way we can get the data for analyzing the results in our tests. Added test_framework.py file – we load the config file, get the ammeters from there (and the ports and commands), do the request using request_current_from_ammeter and return the response.

- Measurement Sampling – changed the test_framework.py file to not only call once to request_current_from_ammeter but using this 3 params from the config file + changed the config file to have default parameters.

testing:

sampling:

measurements_count: 5

total_duration_seconds: 4

sampling_frequency_hz: 1

Added import time to test_framework.py file

- Result Analysis – added import to statitics labriary for calculating mean, median, and standard deviation, also the _analyze_measurements function returns the min and max values.

return {

"count": len(values),

"mean": statistics.mean(values),

"median": statistics.median(values),

"standard_deviation": statistics.stdev(values) if len(values) > 1 else 0.0,

"minimum": min(values),

"maximum": max(values),

}

- Imported pathlib for get to the root dir of the project and create there report dir, the main goal is to save the results there.

- python -m pip install pyyaml – handle config file

python -m pip install matplotlib – for png plots

- needed the servers to stay alive so I can run the tests file, so I added while loop to run until pause, I also changed the treads to be regular treads so they keep the socket for all ports open all the time.

- I updated reame file with the correct commands for the tests + the graph and the results.

- python examples/run_tests.py -> results on terminal + pictures at report directory (currently override between runs).

Results for example (we have 1 for each type):

- Result Management – when we run "python examples/run_tests.py"  (after python main.py) we can see in results directory new json file that contains the data of the all ammeters that tested. I decided to put them together in the same file, but we could of create 3 different files/ uniqe directory with 3 files in it.